## 1
Secu 1 | Secu 2 | Secu 3 | Item Code | Description | Unit | Quantity | Unit Cost | Total | [I / E / N] [I] - Included [E] Exclued [N] No Applicable | Remarks | Search | Page Total | Section Total | Bill Total | Job Total
0 | 0
4 | 100.11 |  |  | Item
0 | 0
4 | 100.14 |  |  | BELL NR. 5.1
0 | 0
4 | 100.15 |  |  | SUPERSTRUCTURE
0 | 0
4 | 100.16 |  |  | CONCRETE WORKS
0 | 0
4 | 100.19 |  |  | IN-SITU CONCRETE
0 | 0
4 | 100.22 |  |  | Concrete; grade 15D/20
0 | 0
4 | 100.24 |  |  | Filling below water tank
0 | 0
4 | 100.27 |  | 05/001.A | A generally (SOSU) | M3 | 223 | 423 | 94329
0 | 0
4 | 100.3 |  |  | Filling to make up levels
0 | 0
4 | 100.32 |  | 05/001.B | B generally (SOSU) | M3 | 749 | 230.12 | 172359.88
0 | 0
4 | 100.35 |  |  | Filling to staircase
0 | 0
4 | 100.37 |  | 05/001.C | C generally (SOSU) | M3 | 7 | 230.12 | 1610.84
0 | 0
4 | 100.4 |  |  | Reinforced concrete ; grade 35D/20
0 | 0
4 | 100.43 |  |  | Curbs; PROVISIONAL
0 | 0
4 | 100.45 |  | 05/001.D | D generally (IP) | M3 | 22 | 230.12 | 5062.64
0 | 0
4 | 100.48 |  |  | Plinths and machine bases ; PROVISIONAL
0 | 0
4 | 100.5 |  | 05/001.E | E generally (BB) | M3 | 173 | 230.12 | 39810.76
0 | 0
4 | 100.53 |  |  | Trench slabs
0 | 0
4 | 100.56 |  | 05/001.F | F 150 thick (BB) | M3 | 18 | 230.12 | 4142.16
0 | 0
4 | 100.58 |  |  | Floating slabs
0 | 0
4 | 100.61 |  | 05/001.G | G 150 thick (BB) | M3 | 54 | 230.12 | 12426.48
0 | 0
4 | 100.76 |  |  | Carried to Collection
0 | 0
4 | 100.77 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 100.78 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 100.79 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 100.8 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 329741.76
0 | 0
0 | 0
4 | 200.11 |  |  | Item Description Quantity Unit
0 | 0
4 | 200.1101 |  |  | Rate______________ HK$
0 | 0
4 | 200.14 |  |  | IN-SITU CONCRETE (Cont d)
0 | 0
4 | 200.16 |  |  | Reinforced concrete ; grade 35D/20
0 | 0
4 | 200.1601 |  |  | (Cont'd)
0 | 0
4 | 200.19 |  |  | Parapet walls
0 | 0
4 | 200.22 |  | 05/002.A | A 150 thick (EW) | M3 | 61 | 230.12 | 14037.32
0 | 0
4 | 200.24 |  |  | Trench walls
0 | 0
4 | 200.27 |  | 05/002.B | B 200 thick (BB) | M3 | 72 | 230.12 | 16568.64
0 | 0
4 | 200.3 |  |  | Walls
0 | 0
4 | 200.32 |  | 05/002.C | C 355 thick (EW) | M3 | 110 | 230.12 | 25313.2
0 | 0
4 | 200.35 |  | 05/002.D | D 300 thick (EW) | M3 | 89 | 230.12 | 20480.68
0 | 0
4 | 200.37 |  | 05/002.E | E 300 thick (IP) | M3 | 22 | 230.12 | 5062.64
0 | 0
4 | 200.4 |  | 05/002.F | F 250 thick (EW) | M3 | 92 | 230.12 | 21171.04
0 | 0
4 | 200.43 |  | 05/002.G | G 250 thick (IP) | M3 | 19 | 230.12 | 4372.28
0 | 0
4 | 200.45 |  | 05/002.H | H 200 thick (EW) | M3 | 9 | 230.12 | 2071.08
0 | 0
4 | 200.48 |  | 05/002.J | J 200 thick (IP) | M3 | 149 | 230.12 | 34287.88
0 | 0
4 | 200.5 |  | 05/002.K | K 180 thick (EW) | M3 | 43 | 230.12 | 9895.16
0 | 0
4 | 200.53 |  | 05/002.L | L 180 thick (IP) | M3 | 62 | 230.12 | 14267.44
0 | 0
4 | 200.56 |  | 05/002.M | M 150 thick (EW) | M3 | 2252 | 230.12 | 518230.24
0 | 0
4 | 200.58 |  | 05/002.N | N 150 thick (IP) | M3 | 1019 | 230.12 | 234492.28
0 | 0
4 | 200.61 |  | 05/002.P | P 100 thick (IP) | M3 | 36 | 230.12 | 8284.32
0 | 0
4 | 200.75 |  |  | Carried to Collection
0 | 0
4 | 200.76 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 200.77 |  |  | J CONSTRUCTION OF AN
0 | 0
4 | 200.78 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 200.79 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 200.7901 |  |  | TUEN MUN - 5.1/2
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 928534.2
0 | 0
0 | 0
4 | 300.11 |  |  | Item
0 | 0
4 | 300.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 300.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 300.14 |  |  | IN-SITU CONCRETE (Conf d)
0 | 0
4 | 300.16 |  |  | Reinforced concrete ; grade 35D/20
0 | 0
4 | 300.1601 |  |  | (Conf d)
0 | 0
4 | 300.19 |  |  | Hanger walls
0 | 0
4 | 300.21 |  | 05/003.A | A 355 thick (EW) | M3 | 14 | 230.12 | 3221.68
0 | 0
4 | 300.24 |  | 05/003.B | B 250 thick (EW) | M3 | 7 | 230.12 | 1610.84
0 | 0
4 | 300.27 |  | 05/003.C | C 150 thick (EW) | M3 | 55 | 230.12 | 12656.6
0 | 0
4 | 300.3 |  |  | Planter walls; PROVISIONAL
0 | 0
4 | 300.32 |  | 05/003.D | D 500 thick (EW) | M3 | 12 | 230.12 | 2761.44
0 | 0
4 | 300.35 |  | 05/003.E | E 200 thick (EW) | M3 | 11 | 230.12 | 2531.32
0 | 0
4 | 300.37 |  | 05/003.F | F 150 think (EW) | M3 | 249 | 230.12 | 57299.88
0 | 0
4 | 300.4 |  |  | Copings, cills, strings, cornices,
0 | 0
4 | 300.41 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 300.42 |  |  | projections, and the like; PROVISIONAL
0 | 0
4 | 300.44 |  | 05/003.G | G generally (EW) | M3 | 250 | 230.12 | 57530
0 | 0
4 | 300.47 |  |  | Reinforced concrete ; grade 35D/20 ;
0 | 0
4 | 300.48 |  |  | waterproof
0 | 0
4 | 300.5 |  |  | Plinths; PROVISIONAL
0 | 0
4 | 300.53 |  | 05/003.H | H VRV plinth (BB) | M3 | 97 | 230.12 | 22321.64
0 | 0
4 | 300.77 |  |  | Carried to Collection
0 | 0
4 | 300.78 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 300.79 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 300.8 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 300.81 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 300.8101 |  |  | TUEN MUN -5.1/3
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 159933.4
0 | 0
0 | 0
4 | 400.11 |  |  | Item Description Quantity Unit
0 | 0
4 | 400.1101 |  |  | Rate______________ HK$
0 | 0
4 | 400.14 |  |  | IN-SITU CONCRETE (Cont d)
0 | 0
4 | 400.16 |  |  | Reinforced concrete ; grade 45D/20
0 | 0
4 | 400.19 |  |  | Suspended slabs; horizontal
0 | 0
4 | 400.22 |  | 05/004.A | A 300 thick (SCUF) | M3 | 19 | 230.12 | 4372.28
0 | 0
4 | 400.24 |  | 05/004.B | B 250 thick (SCUF) | M3 | 60 | 230.12 | 13807.2
0 | 0
4 | 400.27 |  | 05/004.C | C 200 thick (SCUF) | M3 | 31 | 230.12 | 7133.72
0 | 0
4 | 400.3 |  | 05/004.D | D 150 thick (SCUF) | M3 | 7802 | 230.12 | 1795396.24
0 | 0
4 | 400.32 |  |  | Suspended slabs ; horizontal at LPG
0 | 0
4 | 400.33 |  |  | store (High Block)
0 | 0
4 | 400.35 |  | 05/004.E | E 150 thick (SCUF) | M3 | 3 | 230.12 | 690.36
0 | 0
4 | 400.38 |  |  | Suspended slabs ; sloping not
0 | 0
4 | 400.39 |  |  | exceeding 15 degrees from horizontal
0 | 0
4 | 400.42 |  | 05/004.F | F 150 thick (SCUF) | M3 | 7 | 230.12 | 1610.84
0 | 0
4 | 400.82 |  |  | Carried to Collection
0 | 0
4 | 400.83 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 400.84 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 400.85 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 400.86 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 400.8601 |  |  | TUEN MUN -5.1/4
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 1823010.64
0 | 0
0 | 0
4 | 500.11 |  |  | Item
0 | 0
4 | 500.1102 |  |  | _______________Description
0 | 0
4 | 500.1104 |  |  | _____ Quantity Unit Rate
0 | 0
4 | 500.1105 |  |  | HK$
0 | 0
4 | 500.14 |  |  | IN-SITU CONCRETE (Cont'd)
0 | 0
4 | 500.16 |  |  | Reinforced concrete ; grade 45D/20
0 | 0
4 | 500.17 |  |  | (Cont'd)
0 | 0
4 | 500.2 |  |  | Walls
0 | 0
4 | 500.22 |  | 05/005.A | A 300 thick (SCSW) | M3 | 1036 | 230.12 | 238404.32
0 | 0
4 | 500.25 |  | 05/005.B | B 250 thick (SCSW) | M3 | 58 | 230.12 | 13346.96
0 | 0
4 | 500.28 |  | 05/005.C | C 200 thick (SCSW) | M3 | 538 | 230.12 | 123804.56
0 | 0
4 | 500.3 |  | 05/005.D | D 150 thick (SCSW) | M3 | 75 | 230.12 | 17259
0 | 0
4 | 500.33 |  |  | Walls at LPG store (High Block and
0 | 0
4 | 500.34 |  |  | Low Block)
0 | 0
4 | 500.36 |  | 05/005.E | E 125 thick (SCSW) | M3 | 14 | 230.12 | 3221.68
0 | 0
4 | 500.39 |  |  | Bearing Walls
0 | 0
4 | 500.41 |  | 05/005.F | F 200 thick (SCSW) | M3 | 27 | 230.12 | 6213.24
0 | 0
4 | 500.44 |  | 05/005.G | G 150 thick (SCSW) | M3 | 34 | 230.12 | 7824.08
0 | 0
4 | 500.47 |  |  | Hanger Walls
0 | 0
4 | 500.49 |  | 05/005.H | H 200 thick (SCSW) | M3 | 12 | 230.12 | 2761.44
0 | 0
4 | 500.52 |  |  | Fence wall; PROVISIONAL
0 | 0
4 | 500.54 |  | 05/005.J | J 150 thick (SCSW) | M3 | 43 | 230.12 | 9895.16
0 | 0
4 | 500.77 |  |  | Carried to Collection
0 | 0
4 | 500.78 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 500.79 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 500.8 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 500.81 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 500.8101 |  |  | TUEN MUN -5.1/5
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 422730.44
0 | 0
0 | 0
4 | 600.11 |  |  | Item
0 | 0
4 | 600.1102 |  |  | Description
0 | 0
4 | 600.1103 |  |  | Quantity Unit Rate______________ H
0 | 0
4 | 600.14 |  |  | IN-SITU CONCRETE (Cont d)
0 | 0
4 | 600.16 |  |  | Reinforced concrete ; grade 45D/20
0 | 0
4 | 600.17 |  |  | (Corn'd)
0 | 0
4 | 600.2 |  |  | Columns
0 | 0
4 | 600.22 |  | 05/006.A | A generally (SCFF) | M3 | 2657 | 230.12 | 611428.84
0 | 0
4 | 600.25 |  |  | Beams
0 | 0
4 | 600.28 |  | 05/006.B | B generally (SCFF) | M3 | 5679 | 230.12 | 1306851.48
0 | 0
4 | 600.3 |  |  | Beams ; at LPG store (High Block and
0 | 0
4 | 600.31 |  |  | LOW BLOCK)
0 | 0
4 | 600.34 |  | 05/006.C | C generally (SCFF) | M3 | 2 | 230.12 | 460.24
0 | 0
4 | 600.36 |  |  | Transfer Beams
0 | 0
4 | 600.39 |  | 05/006.D | D generally (SCFF) | M3 | 212 | 230.12 | 48785.44
0 | 0
4 | 600.42 |  |  | Stairs
0 | 0
4 | 600.44 |  | 05/006.E | E generally (SCSL) | M3 | 241 | 230.12 | 55458.92
0 | 0
4 | 600.81 |  |  | Carried to Collection
0 | 0
4 | 600.82 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 600.83 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 600.84 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 600.85 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 600.8501 |  |  | TUEN MUN - 5.1/6
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 2022984.92
0 | 0
0 | 0
4 | 700.11 |  |  | Item Description Quantity Unit
0 | 0
4 | 700.1101 |  |  | Rate______________ HK$
0 | 0
4 | 700.14 |  |  | IN-SITU CONCRETE (Cont d)
0 | 0
4 | 700.16 |  |  | Reinforced concrete ; grade 45D/20 ;
0 | 0
4 | 700.17 |  |  | waterproof
0 | 0
4 | 700.2 |  |  | Tank walls
0 | 0
4 | 700.22 |  | 05/007.A | A 300 thick (SCSW) | M3 | 226 | 230.12 | 52007.12
0 | 0
4 | 700.25 |  | 05/007.B | B 250 thick (SCSW) | M3 | 289 | 230.12 | 66504.68
0 | 0
4 | 700.28 |  |  | Tank slabs
0 | 0
4 | 700.3 |  | 05/007.C | C 250 thick (SCUF) | M3 | 158 | 230.12 | 36358.96
0 | 0
4 | 700.33 |  | 05/007.D | D 150 thick (SCUF) | M3 | 95 | 230.12 | 21861.4
0 | 0
4 | 700.36 |  |  | Triangular fillets ; horizontal or
0 | 0
4 | 700.37 |  |  | vertical; formwork
0 | 0
4 | 700.4 |  | 05/007.E | E 250 x 250 (extreme) (SCSW) | M | 886 | 230.12 | 203886.32
0 | 0
4 | 700.43 |  |  | Light weight concrete
0 | 0
4 | 700.45 |  |  | Filling below F.S inlet and sprinkler
0 | 0
4 | 700.46 |  |  | inlet
0 | 0
4 | 700.48 |  | 05/007.F | F generally (SOSU) | M3 | 4 | 230.12 | 920.48
0 | 0
4 | 700.51 |  |  | Filling above slab
0 | 0
4 | 700.54 |  | 05/007.G | G generally (SOSU) | M3 | 50 | 230.12 | 11506
0 | 0
4 | 700.56 |  |  | Filling below hose reel
0 | 0
4 | 700.59 |  | 05/007.H | H generally (SOSU) | M3 | 4 | 230.12 | 920.48
0 | 0
4 | 700.76 |  |  | Carried to Collection
0 | 0
4 | 700.77 |  |  | CONTRACT NO. SSGOOS
0 | 0
4 | 700.78 |  |  | J CONSTRUCTION OF AN
0 | 0
4 | 700.79 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 700.8 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 700.8001 |  |  | TUEN MUN -5.1/7
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 393965.44
0 | 0
0 | 0
4 | 800.11 |  |  | Item
0 | 0
4 | 800.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 800.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 800.14 |  |  | PRECAST CONCRETE
0 | 0
4 | 800.16 |  |  | Precast concrete ; grade 20/20
0 | 0
4 | 800.19 |  |  | Lintels
0 | 0
4 | 800.22 |  |  | A 100 x 150 ; reinforcing with
0 | 0
4 | 800.23 |  |  | one 12 diameter mild steel
0 | 0
4 | 800.24 |  | 05/008.A | bar (In Nr. 10) (SCSU) | M | 21 | 230.12 | 4832.52
0 | 0
4 | 800.27 |  |  | B 100 x 225 ; reinforcing with
0 | 0
4 | 800.28 |  |  | two 16 diameter mild steel
0 | 0
4 | 800.29 |  | 05/008.B | bar (In Nr. 46) (SCSU) | M | 103 | 230.12 | 23702.36
0 | 0
4 | 800.31 |  |  | C 150 X 150 ; reinforcing with
0 | 0
4 | 800.32 |  |  | one 12 diameter mild steel
0 | 0
4 | 800.33 |  | 05/008.C | bar (In Nr. 129) (SCSU) | M | 186 | 230.12 | 42802.32
0 | 0
4 | 800.35 |  |  | D 150 x 225 ; reinforcing with
0 | 0
4 | 800.36 |  |  | two 16 diameter mild steel
0 | 0
4 | 800.37 |  | 05/008.D | bar (In Nr. 72) (SCSU) | M | 163 | 230.12 | 37509.56
0 | 0
4 | 800.4 |  |  | E 200 x 150 ; reinforcing with
0 | 0
4 | 800.41 |  |  | one 12 diameter mild steel
0 | 0
4 | 800.42 |  | 05/008.E | bar (In Nr. 2) (SCSU) | M | 3 | 230.12 | 690.36
0 | 0
4 | 800.79 |  |  | Carried to Collection
0 | 0
4 | 800.8 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 800.81 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 800.82 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 800.83 |  |  | COMPLEX AT Ex-sru LAM HOSPITAL SITE IN
0 | 0
4 | 800.8301 |  |  | TUEN MUN - 5.1/8
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 109537.12
0 | 0
0 | 0
4 | 900.11 |  |  | Item
0 | 0
4 | 900.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 900.1103 |  |  | Unit Rate______________ HK$
0 | 0
4 | 900.13 |  |  | REINFORCEMENT; ALL PROVISIONAL
0 | 0
4 | 900.16 |  |  | Ribbed steel bars
0 | 0
4 | 900.19 |  |  | General reinforcement
0 | 0
4 | 900.21 |  | 05/009.A | A round bars; 40 diameter (SC) | KG | 364800 | 12.2 | 4450560
0 | 0
4 | 900.24 |  | 05/009.B | B round bars; 32 diameter (SC) | KG | 398000 | 12.2 | 4855600
0 | 0
4 | 900.27 |  | 05/009.C | C round bars ; 25 diameter (SC) | KG | 238900 | 12.2 | 2914580
0 | 0
4 | 900.29 |  | 05/009.D | D round bars; 20 diameter (SC) | KG | 256800 | 12.2 | 3132960
0 | 0
4 | 900.32 |  | 05/009.E | E round bars; 16 diameter (SC) | KG | 602200 | 12.2 | 7346840
0 | 0
4 | 900.34 |  | 05/009.F | F round bars; 12 diameter (SC) | KG | 604300 | 12.2 | 7372460
0 | 0
4 | 900.37 |  | 05/009.G | G round bars; 10 diameter (SC) | KG | 530700 | 12.2 | 6474540
0 | 0
4 | 900.4 |  |  | Links, stirrups and binders
0 | 0
4 | 900.42 |  | 05/009.H | H round bars; 12 diameter (SC) | KG | 225500 | 12.2 | 2751100
0 | 0
4 | 900.45 |  | 05/009.J | J round bars; 10 diameter (SC) | KG | 205700 | 12.2 | 2509540
0 | 0
4 | 900.82 |  |  | Carried to Collection
0 | 0
4 | 900.83 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 900.84 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 900.85 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 900.86 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 900.8601 |  |  | TUEN MUN -5.1/9
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 41808180
0 | 0
0 | 0
4 | 1000.11 |  |  | Item
0 | 0
4 | 1000.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1000.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 1000.14 |  |  | REINFORCEMENT; ALL PROVISIONAL
0 | 0
4 | 1000.15 |  |  | (Cont'd)
0 | 0
4 | 1000.18 |  |  | Fabric reinforcement
0 | 0
4 | 1000.21 |  |  | Expanded metal lath ; comprise of 2 mm
0 | 0
4 | 1000.22 |  |  | diameter wire 100 centre to centre
0 | 0
4 | 1000.23 |  |  | maximum or continuous arrangement of
0 | 0
4 | 1000.24 |  |  | links 200 centre to centre maximum ;
0 | 0
4 | 1000.25 |  |  | minimum weight 0.5kg/m2 ; measured net
0 | 0
4 | 1000.26 |  |  | - allow for laps
0 | 0
4 | 1000.28 |  | 05/010.A | A in concrete (SC) | M2 | 20 | 230.12 | 4602.4
0 | 0
4 | 1000.31 |  |  | APPROVED couplers for jointing steel
0 | 0
4 | 1000.32 |  |  | bars ; including preparing and
0 | 0
4 | 1000.33 |  |  | threading ends of steel bars ; fixed in
0 | 0
4 | 1000.34 |  |  | accordance with the manufacturer s
0 | 0
4 | 1000.3401 |  |  | instructions
0 | 0
4 | 1000.37 |  |  | Couplers for jointing to ribbed steel
0 | 0
4 | 1000.38 |  |  | bars at both ends
0 | 0
4 | 1000.4 |  | 05/010.B | B 40 diameter (SC) | NR | 400 | 230.12 | 92048
0 | 0
4 | 1000.43 |  | 05/010.C | C 32 diameter (SC) | NR | 400 | 230.12 | 92048
0 | 0
4 | 1000.45 |  | 05/010.D | D 25 diameter (SC) | NR | 400 | 230.12 | 92048
0 | 0
4 | 1000.79 |  |  | Carried to Collection
0 | 0
4 | 1000.8 |  |  | CONTRACT NO. SSG00S
0 | 0
4 | 1000.81 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1000.82 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1000.83 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 1000.8301 |  |  | TUEN MUN - 5.1/10
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 280746.4
0 | 0
0 | 0
4 | 1100.11 |  |  | Item__________Description
0 | 0
4 | 1100.1102 |  |  | _________ Quantity Unit
0 | 0
4 | 1100.1103 |  |  | Rate______________ HK$
0 | 0
4 | 1100.14 |  |  | FORMWORK
0 | 0
4 | 1100.16 |  |  | Sawn formwork
0 | 0
4 | 1100.19 |  |  | Vertical surfaces
0 | 0
4 | 1100.21 |  | 05/011.A | A piers, columns and stanchions (SCFF) | M2 | 14167 | 230.12 | 3260110.04
0 | 0
4 | 1100.24 |  | 05/011.B | B walls (SCSW) | M2 | 14588 | 230.12 | 3356990.56
0 | 0
4 | 1100.27 |  | 05/011.C | C walls (IP) | M2 | 16782 | 230.12 | 3861873.84
0 | 0
4 | 1100.29 |  | 05/011.D | D walls (EW) | M2 | 33046 | 230.12 | 7604545.52
0 | 0
4 | 1100.32 |  | 05/011.E | E walls; curved (EW) | M2 | 260 | 230.12 | 59831.2
0 | 0
4 | 1100.34 |  | 05/011.F | F planter walls; PROVISIONAL (EW) | M2 | 3477 | 230.12 | 800127.24
0 | 0
4 | 1100.37 |  | 05/011.G | G tank walls (SCSW) | M2 | 1527 | 230.12 | 351393.24
0 | 0
4 | 1100.4 |  | 05/011.H | H trench walls (BB) | M2 | 352 | 230.12 | 81002.24
0 | 0
4 | 1100.42 |  | 05/011.J | J fence walls; PROVISIONAL (SCSW) | M2 | 479 | 230.12 | 110227.48
0 | 0
4 | 1100.45 |  |  | K fence walls ; curved ;
0 | 0
4 | 1100.46 |  | 05/011.K | PROVISIONAL (SCSW) | M2 | 99 | 230.12 | 22781.88
0 | 0
4 | 1100.48 |  |  | L walls at LPG store (High Block and
0 | 0
4 | 1100.49 |  | 05/011.L | Low Block) (SCSW) | M2 | 219 | 230.12 | 50396.28
0 | 0
4 | 1100.79 |  |  | Carried to Collection
0 | 0
4 | 1100.8 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1100.81 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1100.82 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1100.83 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 1100.8301 |  |  | TUEN MUN -5.1/11
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 19559279.52
0 | 0
0 | 0
4 | 1200.11 |  |  | Item
0 | 0
4 | 1200.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1200.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 1200.13 |  |  | FORMWORK (Cont d)
0 | 0
4 | 1200.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 1200.19 |  |  | Flat surfaces
0 | 0
4 | 1200.21 |  | 05/012.A | A soffits of suspended slabs (SCUF) | M2 | 12180 | 230.12 | 2802861.6
0 | 0
4 | 1200.24 |  |  | B soffits of suspended slabs
0 | 0
4 | 1200.25 |  | 05/012.B | at LPG store (High Block) (SCUF) | M2 | 51 | 230.12 | 11736.12
0 | 0
4 | 1200.28 |  |  | C soffits of suspended slabs;
0 | 0
4 | 1200.29 |  | 05/012.C | 200 - 300 thick (SCUF) | M2 | 393 | 230.12 | 90437.16
0 | 0
4 | 1200.32 |  |  | D soffits of suspended slabs ;
0 | 0
4 | 1200.33 |  | 05/012.D | strutting 3.50 - 5.00m high (SCRF) | M2 | 26175 | 230.12 | 6023391
0 | 0
4 | 1200.35 |  |  | E soffits of suspended slabs ;
0 | 0
4 | 1200.36 |  | 05/012.E | strutting 5.00 - 6.50m high (SCUF) | M2 | 9078 | 230.12 | 2089029.36
0 | 0
4 | 1200.39 |  |  | F soffits of suspended slabs ;
0 | 0
4 | 1200.4 |  | 05/012.F | strutting 6.50 - 8.00m high (SCUF) | M2 | 2440 | 230.12 | 561492.8
0 | 0
4 | 1200.42 |  |  | G soffits of suspended slabs ;
0 | 0
4 | 1200.43 |  | 05/012.G | strutting 9.50 -11.00m high (SCUF) | M2 | 410 | 230.12 | 94349.2
0 | 0
4 | 1200.45 |  |  | H soffits of suspended slabs ;
0 | 0
4 | 1200.46 |  | 05/012.H | strutting 11.00 - 12.50m high (SCUF) | M2 | 191 | 230.12 | 43952.92
0 | 0
4 | 1200.78 |  |  | Carried to Collection
0 | 0
4 | 1200.79 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1200.8 |  |  | CONSTRUCTION OF AN ------
0 | 0
4 | 1200.81 |  |  | ------------------ * INTEGRATED
0 | 0
4 | 1200.82 |  |  | REHABILITATION SERVICES COMPLEX AT
0 | 0
4 | 1200.8202 |  |  | EX-SIU LAM HOSPITAL SITE IN TUEN MUN -
0 | 0
4 | 1200.8203 |  |  | 5.1/12
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 11717250.16
0 | 0
0 | 0
4 | 1300.11 |  |  | Item
0 | 0
4 | 1300.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1300.1103 |  |  | Unit Rate HK$
0 | 0
4 | 1300.13 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 1300.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 1300.19 |  |  | Flat surfaces (Cont d)
0 | 0
4 | 1300.21 |  |  | A soffits of suspended slabs ;
0 | 0
4 | 1300.22 |  | 05/013.A | strutting 12.50 - 14.00m high (SCUF) | M2 | 14 | 230.12 | 3221.68
0 | 0
4 | 1300.25 |  |  | B soffits of suspended slabs ;
0 | 0
4 | 1300.26 |  | 05/013.B | strutting 14.00- 15.50m high (SCUF) | M2 | 27 | 230.12 | 6213.24
0 | 0
4 | 1300.28 |  |  | C soffits of suspended slabs ;
0 | 0
4 | 1300.29 |  | 05/013.C | strutting 15.50 - 17.00m high (SCUF) | M2 | 14 | 230.12 | 3221.68
0 | 0
4 | 1300.32 |  |  | D soffits of suspended slabs ;
0 | 0
4 | 1300.33 |  | 05/013.D | strutting 18.50-20.00m high (SCUF) | M2 | 11 | 230.12 | 2531.32
0 | 0
4 | 1300.36 |  |  | E soffits of suspended slabs ;
0 | 0
4 | 1300.37 |  |  | 200 - 300 thick;
0 | 0
4 | 1300.38 |  | 05/013.E | strutting 3.50 - 5.00m high (SCUF) | M2 | 35 | 230.12 | 8054.2
0 | 0
4 | 1300.4 |  | 05/013.F | F soffits of suspended tank slabs (SCUF) | M2 | 632 | 230.12 | 145435.84
0 | 0
4 | 1300.43 |  | 05/013.G | G soffits of suspended trench slabs (BB) | M2 | 119 | 230.12 | 27384.28
0 | 0
4 | 1300.45 |  | 05/013.H | H sides and soffits of filling (SCFF) | M2 | 5 | 230.12 | 1150.6
0 | 0
4 | 1300.48 |  | 05/013.J | J soffits of floating slab (BB) | M2 | 333 | 230.12 | 76629.96
0 | 0
4 | 1300.78 |  |  | Carried to Collection
0 | 0
4 | 1300.79 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1300.8 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1300.81 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1300.82 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 1300.8201 |  |  | THEN MUN - 5.1/13
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 273842.8
0 | 0
0 | 0
4 | 1400.11 |  |  | Item
0 | 0
4 | 1400.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1400.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 1400.14 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 1400.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 1400.19 |  |  | Flat surfaces (Cont d)
0 | 0
4 | 1400.21 |  | 05/014.A | A sides and soffits of beams (SCFF) | M2 | 1836 | 230.12 | 422500.32
0 | 0
4 | 1400.24 |  |  | B sides and soffits of transfer
0 | 0
4 | 1400.25 |  | 05/014.B | beams (SCFF) | M2 | 51 | 230.12 | 11736.12
0 | 0
4 | 1400.28 |  |  | C sides and soffits of beams ;
0 | 0
4 | 1400.29 |  | 05/014.C | curved (SCFF) | M2 | 14 | 230.12 | 3221.68
0 | 0
4 | 1400.31 |  |  | D SIDES ANd soffits of beams ;
0 | 0
4 | 1400.32 |  | 05/014.D | strutting 3.50 - 5.00m high (SCFF) | M2 | 25048 | 230.12 | 5764045.76
0 | 0
4 | 1400.34 |  |  | E sides and soffits of beams ;
0 | 0
4 | 1400.35 |  | 05/014.E | strutting 5.00 - 6.50m high (SCFF) | M2 | 8593 | 230.12 | 1977421.16
0 | 0
4 | 1400.38 |  |  | F sides and soffits of transfer beams ;
0 | 0
4 | 1400.39 |  | 05/014.F | strutting 5.00 - 6.50m high (SCFF) | M2 | 77 | 230.12 | 17719.24
0 | 0
4 | 1400.41 |  |  | G sides and soffits of beams ;
0 | 0
4 | 1400.42 |  | 05/014.G | strutting 6.50 - 8.00m high (SCFF) | M2 | 57 | 230.12 | 13116.84
0 | 0
4 | 1400.45 |  |  | H sides and soffits of beams ;
0 | 0
4 | 1400.46 |  | 05/014.H | strutting 11.00 - 12.50m high (SCFF) | M2 | 146 | 230.12 | 33597.52
0 | 0
4 | 1400.49 |  |  | J sides and soffits of beams ;
0 | 0
4 | 1400.5 |  | 05/014.J | strutting 12.50 -14.00m high (SCFF) | M2 | 10 | 230.12 | 2301.2
0 | 0
4 | 1400.76 |  |  | Carried to Collection
0 | 0
4 | 1400.77 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1400.78 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1400.79 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1400.8 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 1400.8001 |  |  | TUEN MUN - 5.1/14
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 8245659.84
0 | 0
0 | 0
4 | 1500.11 |  |  | Item
0 | 0
4 | 1500.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1500.1103 |  |  | Unit Rate______________ HKS
0 | 0
4 | 1500.14 |  |  | FORMWORK (Cont d)
0 | 0
4 | 1500.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 1500.19 |  |  | Flat surfaces (Cont'd)
0 | 0
4 | 1500.21 |  |  | A sides and soffits of beams ;
0 | 0
4 | 1500.22 |  | 05/015.A | exceeding 750 deep (SCUF) | M2 | 32 | 230.12 | 7363.84
0 | 0
4 | 1500.25 |  |  | B sides and soffits of transfer beams ;
0 | 0
4 | 1500.26 |  | 05/015.B | exceeding 750 deep (SCUF) | M2 | 81 | 230.12 | 18639.72
0 | 0
4 | 1500.28 |  |  | C sides and soffits of beams ;
0 | 0
4 | 1500.29 |  |  | exceeding 750 deep ; strutting
0 | 0
4 | 1500.3 |  | 05/015.C | 3.50- 5.00m high (SCUF) | M2 | 112 | 230.12 | 25773.44
0 | 0
4 | 1500.33 |  |  | D sides and soffits of transfer beams ;
0 | 0
4 | 1500.34 |  |  | exceeding 750 deep ; strutting
0 | 0
4 | 1500.35 |  | 05/015.D | 3.50 - 5.00m high (SCUF) | M2 | 64 | 230.12 | 14727.68
0 | 0
4 | 1500.38 |  |  | E sides and soffits of beams ;
0 | 0
4 | 1500.39 |  |  | exceeding 750 deep ; strutting
0 | 0
4 | 1500.4 |  | 05/015.E | 5.00 - 6.50m high (SCUF) | M2 | 969 | 230.12 | 222986.28
0 | 0
4 | 1500.43 |  |  | F sides and soffits of transfer beams ;
0 | 0
4 | 1500.44 |  |  | exceeding 750 deep ; strutting
0 | 0
4 | 1500.45 |  | 05/015.F | 5.00 - 6.50m high (SCUF) | M2 | 418 | 230.12 | 96190.16
0 | 0
4 | 1500.48 |  |  | G sides and soffits of transfer beams ;
0 | 0
4 | 1500.49 |  |  | exceeding 750 deep ; strutting
0 | 0
4 | 1500.5 |  | 05/015.G | 12.50- 14.00m high (SCUF) | M2 | 28 | 230.12 | 6443.36
0 | 0
4 | 1500.53 |  |  | H sides and soffits of beams at LPG
0 | 0
4 | 1500.54 |  | 05/015.H | store (High Block) (SCFF) | M2 | 15 | 230.12 | 3451.8
0 | 0
4 | 1500.57 |  |  | J sides and soffits of beams at LPG
0 | 0
4 | 1500.58 |  |  | store (Low Block);
0 | 0
4 | 1500.59 |  | 05/015.J | strutting 5.00 - 6.50m high (SCFF) | M2 | 9 | 230.12 | 2071.08
0 | 0
4 | 1500.73 |  |  | Carried to Collection
0 | 0
4 | 1500.74 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1500.75 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1500.76 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1500.77 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 1500.7701 |  |  | TUEN MUN - 5.1/15
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 397647.36
0 | 0
0 | 0
4 | 1600.11 |  |  | Item
0 | 0
4 | 1600.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1600.1103 |  |  | Unit______ Rate________ HK $
0 | 0
4 | 1600.14 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 1600.16 |  |  | Sawn formwork (Cont d)
0 | 0
4 | 1600.19 |  |  | Extra over formwork to sides and
0 | 0
4 | 1600.2 |  |  | soffits of beams ; ALL PROVISIONAL
0 | 0
4 | 1600.22 |  |  | A for formwork to projecting surfaces
0 | 0
4 | 1600.23 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1600.24 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1600.25 |  |  | projections and the like; 900-1000
0 | 0
4 | 1600.2501 |  |  | girth ;
0 | 0
4 | 1600.26 |  | 05/016.A | strutting 3.50 - 5.00m high (EW) | M | 316 | 230.12 | 72717.92
0 | 0
4 | 1600.28 |  |  | B for formwork to projecting surfaces
0 | 0
4 | 1600.29 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1600.3 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1600.31 |  |  | PROJECTions and the like ; 900-1000
0 | 0
4 | 1600.3101 |  |  | girth ;
0 | 0
4 | 1600.32 |  | 05/016.B | strutting 5.00 - 6.50m high (EW) | M | 124 | 230.12 | 28534.88
0 | 0
4 | 1600.35 |  |  | C for formwork to projecting surfaces
0 | 0
4 | 1600.36 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1600.37 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1600.38 |  |  | projections and the like ; 900-1000
0 | 0
4 | 1600.3801 |  |  | girth ;
0 | 0
4 | 1600.39 |  | 05/016.C | strutting 12.50 - 14.00m high (EW) | M | 19 | 230.12 | 4372.28
0 | 0
4 | 1600.42 |  |  | D for formwork to projecting surfaces
0 | 0
4 | 1600.43 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1600.44 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1600.45 |  |  | projections and the like ; 1200-1300
0 | 0
4 | 1600.4501 |  |  | girth ;
0 | 0
4 | 1600.46 |  | 05/016.D | strutting 3.50 - 5,00m high (EW) | M | 37 | 230.12 | 8514.44
0 | 0
4 | 1600.49 |  |  | E for formwork to projecting surfaces
0 | 0
4 | 1600.5 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1600.51 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1600.52 |  |  | projections and the like ; 1200-1300
0 | 0
4 | 1600.5201 |  |  | girth;
0 | 0
4 | 1600.53 |  | 05/016.E | strutting 5.00 - 6.50m high (EW) | M | 45 | 230.12 | 10355.4
0 | 0
4 | 1600.55 |  |  | F for formwork to projecting surfaces
0 | 0
4 | 1600.56 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1600.57 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1600.58 |  |  | projections and the like ; 1200-1300
0 | 0
4 | 1600.5801 |  |  | girth ;
0 | 0
4 | 1600.59 |  | 05/016.F | strutting 6.50 - 8.00m high (EW) | M | 18 | 230.12 | 4142.16
0 | 0
4 | 1600.65 |  |  | Carried to Collection
0 | 0
4 | 1600.66 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1600.67 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1600.68 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1600.69 |  |  | COMPLEX AT EX-SRJ LAM HOSPITAL SITE IN
0 | 0
4 | 1600.6901 |  |  | TUEN MUN -5.1/16
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 128637.08
0 | 0
0 | 0
4 | 1700.11 |  |  | Item
0 | 0
4 | 1700.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1700.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 1700.13 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 1700.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 1700.19 |  |  | Extra over formwork to sides and
0 | 0
4 | 1700.2 |  |  | soffits of beams ; ALL PROVISIONAL
0 | 0
4 | 1700.2001 |  |  | (Cont'd)
0 | 0
4 | 1700.23 |  |  | A for formwork to projecting surfaces
0 | 0
4 | 1700.24 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1700.25 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1700.26 |  |  | projections and the like ; 1200-1300
0 | 0
4 | 1700.2601 |  |  | girth ;
0 | 0
4 | 1700.27 |  | 05/017.A | strutting 11.00 - 12.50m high (EW) | M | 6 | 230.12 | 1380.72
0 | 0
4 | 1700.29 |  |  | B for formwork to projecting surfaces
0 | 0
4 | 1700.3 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1700.31 |  |  | eaves OVERHANgs, fins, sunbreakers,
0 | 0
4 | 1700.32 |  |  | projections and the like ; 1400-1500
0 | 0
4 | 1700.3201 |  |  | girth ;
0 | 0
4 | 1700.33 |  | 05/017.B | strutting 3.50 - 5.00m high (EW) | M | 93 | 230.12 | 21401.16
0 | 0
4 | 1700.36 |  |  | C for formwork to projecting surfaces
0 | 0
4 | 1700.37 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1700.38 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1700.39 |  |  | projections and the like ; 1500-1600
0 | 0
4 | 1700.3901 |  |  | girth ;
0 | 0
4 | 1700.4 |  | 05/017.C | strutting 5.00 - 6.50m high (EW) | M | 14 | 230.12 | 3221.68
0 | 0
4 | 1700.43 |  |  | D for formwork to projecting surfaces
0 | 0
4 | 1700.44 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1700.45 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1700.46 |  |  | projections and the like; 1700-1800
0 | 0
4 | 1700.4601 |  |  | girth ;
0 | 0
4 | 1700.47 |  | 05/017.D | strutting 3.50 - 5.00m high (EW) | M | 7 | 230.12 | 1610.84
0 | 0
4 | 1700.5 |  |  | E for formwork to projecting surfaces
0 | 0
4 | 1700.51 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1700.52 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1700.53 |  |  | projections and the like ; 1800-1900
0 | 0
4 | 1700.5301 |  |  | girth ;
0 | 0
4 | 1700.54 |  | 05/017.E | strutting 6.50 - 8.00m high (EW) | M | 4 | 230.12 | 920.48
0 | 0
4 | 1700.7 |  |  | Carried to Collection
0 | 0
4 | 1700.71 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1700.72 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1700.73 |  |  | --------------------- J INTEGRATED
0 | 0
4 | 1700.74 |  |  | REHABILITATION SERVICES COMPLEX AT
0 | 0
4 | 1700.7402 |  |  | EX-SIU LAM HOSPITAL SITE IN TUEN MUN -
0 | 0
4 | 1700.7403 |  |  | 5.1/17
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 28534.88
0 | 0
0 | 0
4 | 1800.11 |  |  | Item
0 | 0
4 | 1800.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 1800.1103 |  |  | Unit Rate______________ HK$
0 | 0
4 | 1800.13 |  |  | FORMWORK (Cont d)
0 | 0
4 | 1800.16 |  |  | Sawn, formwork (Cont'd)
0 | 0
4 | 1800.19 |  |  | Extra over formwork to sides and
0 | 0
4 | 1800.2 |  |  | soffits of beams ; ALL PROVISIONAL
0 | 0
4 | 1800.2001 |  |  | (Cont'd)
0 | 0
4 | 1800.23 |  |  | A for formwork to projecting surfaces
0 | 0
4 | 1800.24 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1800.25 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1800.26 |  |  | projections and the like ; 1900-2000
0 | 0
4 | 1800.2601 |  |  | girth;
0 | 0
4 | 1800.27 |  | 05/018.A | strutting 3.50 - 5.00m high (EW) | M | 6 | 230.12 | 1380.72
0 | 0
4 | 1800.3 |  |  | B for formwork to projecting surfaces
0 | 0
4 | 1800.31 |  |  | of COPINGS, cills, strings, cornices,
0 | 0
4 | 1800.32 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1800.33 |  |  | projections and the like ; 2000-2100
0 | 0
4 | 1800.3301 |  |  | girth ;
0 | 0
4 | 1800.34 |  | 05/018.B | strutting 6.50 - 8.00m high (EW) | M | 15 | 230.12 | 3451.8
0 | 0
4 | 1800.37 |  |  | C for formwork to projecting surfaces
0 | 0
4 | 1800.38 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1800.39 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1800.4 |  |  | projections and the like ; 2100-2200
0 | 0
4 | 1800.4001 |  |  | girth ;
0 | 0
4 | 1800.41 |  | 05/018.C | strutting 3.50 - 5.00m high (EW) | M | 222 | 230.12 | 51086.64
0 | 0
4 | 1800.44 |  |  | D for formwork to projecting surfaces
0 | 0
4 | 1800.45 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1800.46 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1800.47 |  |  | projections and the like ; 2300-2400
0 | 0
4 | 1800.4701 |  |  | girth;
0 | 0
4 | 1800.48 |  | 05/018.D | strutting 3.50 - 5.00m high (EW) | M | 28 | 230.12 | 6443.36
0 | 0
4 | 1800.51 |  |  | E for formwork to projecting surfaces
0 | 0
4 | 1800.52 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1800.53 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1800.54 |  |  | projections and the like ; 2300-2400
0 | 0
4 | 1800.5401 |  |  | girth ;
0 | 0
4 | 1800.55 |  | 05/018.E | strutting 5.00 - 6.50m high (EW) | M | 32 | 230.12 | 7363.84
0 | 0
4 | 1800.71 |  |  | Carried to Collection
0 | 0
4 | 1800.72 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1800.73 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1800.74 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1800.75 |  |  | COMPLEX AT EX-SIU LAM HOSPFFAL SITE IN
0 | 0
4 | 1800.7501 |  |  | TUEN MUN - 5.1/18
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 69726.36
0 | 0
0 | 0
4 | 1900.11 |  |  | Item Description
0 | 0
4 | 1900.1101 |  |  | Quantity Unit______ Rate________ HK $
0 | 0
4 | 1900.14 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 1900.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 1900.19 |  |  | Extra over formwork to sides and
0 | 0
4 | 1900.2 |  |  | soffits of beams ; ALL PROVISIONAL
0 | 0
4 | 1900.2001 |  |  | (Cont'd)
0 | 0
4 | 1900.22 |  |  | A for formwork to projecting surfaces
0 | 0
4 | 1900.23 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1900.24 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1900.25 |  |  | projections and the like ; 2400-2500
0 | 0
4 | 1900.2501 |  |  | girth ;
0 | 0
4 | 1900.26 |  | 05/019.A | strutting 3.50 - 5.00m high (EW) | M | 50 | 230.12 | 11506
0 | 0
4 | 1900.28 |  |  | B for formwork to projecting surfaces
0 | 0
4 | 1900.29 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1900.3 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1900.31 |  |  | projections AND THE like ; 2500-2600
0 | 0
4 | 1900.3101 |  |  | girth;
0 | 0
4 | 1900.32 |  | 05/019.B | strutting 3.50 - 5.00m high (EW) | M | 7 | 230.12 | 1610.84
0 | 0
4 | 1900.34 |  |  | C for formwork to projecting surfaces
0 | 0
4 | 1900.35 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1900.36 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1900.37 |  |  | projections and the like ; 2700-2800
0 | 0
4 | 1900.3701 |  |  | girth ;
0 | 0
4 | 1900.38 |  | 05/019.C | strutting 3.50 - 5.00m high (EW) | M | 15 | 230.12 | 3451.8
0 | 0
4 | 1900.41 |  |  | D for formwork to projecting surfaces
0 | 0
4 | 1900.42 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1900.43 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1900.44 |  |  | projections and the like ; 2800-2900
0 | 0
4 | 1900.4401 |  |  | girth ;
0 | 0
4 | 1900.45 |  | 05/019.D | strutting 3.50 - 5.00m high (EW) | M | 13 | 230.12 | 2991.56
0 | 0
4 | 1900.48 |  |  | E for formwork to projecting surfaces
0 | 0
4 | 1900.49 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 1900.5 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 1900.51 |  |  | projections and the like ; 2900-3000
0 | 0
4 | 1900.5101 |  |  | girth ;
0 | 0
4 | 1900.52 |  | 05/019.E | strutting 3.50 - 5.00m high (EW) | M | 28 | 230.12 | 6443.36
0 | 0
4 | 1900.69 |  |  | Carried to Collection
0 | 0
4 | 1900.7 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 1900.71 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 1900.72 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 1900.73 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 1900.7301 |  |  | TUEN MUN -5.1/19
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 26003.56
0 | 0
0 | 0
4 | 2000.11 |  |  | Item
0 | 0
4 | 2000.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 2000.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 2000.14 |  |  | FORMWORK (Cont d)
0 | 0
4 | 2000.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 2000.19 |  |  | Extra over formwork to sides and
0 | 0
4 | 2000.2 |  |  | soffits of beams ; ALL PROVISIONAL
0 | 0
4 | 2000.2001 |  |  | (Cont'd)
0 | 0
4 | 2000.22 |  |  | A for formwork to projecting surfaces
0 | 0
4 | 2000.23 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2000.24 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2000.25 |  |  | projections and the like ; 2900-3000
0 | 0
4 | 2000.2501 |  |  | girth ;
0 | 0
4 | 2000.26 |  | 05/020.A | strutting 5.00 - 6.50m high (EW) | M | 3 | 230.12 | 690.36
0 | 0
4 | 2000.28 |  |  | B for formwork to projecting surfaces
0 | 0
4 | 2000.29 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2000.3 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2000.31 |  |  | projections AND THE like ; 2900-3000
0 | 0
4 | 2000.3101 |  |  | girth ;
0 | 0
4 | 2000.32 |  | 05/020.B | strutting 6.50 - 8.00m high (EW) | M | 21 | 230.12 | 4832.52
0 | 0
4 | 2000.35 |  |  | C for formwork to projecting surfaces
0 | 0
4 | 2000.36 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2000.37 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2000.38 |  |  | projections and the like ; 2900-3000
0 | 0
4 | 2000.3801 |  |  | girth ;
0 | 0
4 | 2000.39 |  | 05/020.C | strutting 11.00 - 12.50m high (EW) | M | 21 | 230.12 | 4832.52
0 | 0
4 | 2000.42 |  |  | D for formwork to projecting surfaces
0 | 0
4 | 2000.43 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2000.44 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2000.45 |  |  | projections and the like ; 3100-3200
0 | 0
4 | 2000.4501 |  |  | girth ;
0 | 0
4 | 2000.46 |  | 05/020.D | strutting 3.50 - 5.00m high (EW) | M | 102 | 230.12 | 23472.24
0 | 0
4 | 2000.49 |  |  | E for formwork to projecting surfaces
0 | 0
4 | 2000.5 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2000.51 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2000.52 |  |  | projections and the like ; 3100-3200
0 | 0
4 | 2000.5201 |  |  | girth ;
0 | 0
4 | 2000.53 |  | 05/020.E | strutting 11.00 - 12.50m high (EW) | M | 9 | 230.12 | 2071.08
0 | 0
4 | 2000.7 |  |  | Carried to Collection
0 | 0
4 | 2000.71 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2000.72 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2000.73 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2000.74 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 2000.7401 |  |  | TUEN MUN - 5,1/20
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 35898.72
0 | 0
0 | 0
4 | 2100.11 |  |  | Item
0 | 0
4 | 2100.1102 |  |  | Description______________________Quantit
0 | 0
4 | 2100.1103 |  |  | y Unit Rate______________ HK$
0 | 0
4 | 2100.13 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 2100.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 2100.19 |  |  | Extra over formwork to sides and
0 | 0
4 | 2100.2 |  |  | soffits of beams ; ALL PROVISIONAL
0 | 0
4 | 2100.2001 |  |  | (Cont'd)
0 | 0
4 | 2100.22 |  |  | A for formwork to projecting surfaces
0 | 0
4 | 2100.23 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2100.24 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2100.25 |  |  | projections and the like ; 3300-3400
0 | 0
4 | 2100.2501 |  |  | girth;
0 | 0
4 | 2100.26 |  | 05/021.A | strutting 3.50 - 5.00m high (EW) | M | 8 | 230.12 | 1840.96
0 | 0
4 | 2100.28 |  |  | B for formwork to projecting surfaces
0 | 0
4 | 2100.29 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2100.3 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2100.31 |  |  | projections AND THE like ; 3500-3600
0 | 0
4 | 2100.3101 |  |  | girth ;
0 | 0
4 | 2100.32 |  | 05/021.B | strutting 6.50 - 8.00m high (EW) | M | 4 | 230.12 | 920.48
0 | 0
4 | 2100.35 |  |  | C for formwork to projecting surfaces
0 | 0
4 | 2100.36 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2100.37 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2100.38 |  |  | projections and the like ; 3500-3600
0 | 0
4 | 2100.3801 |  |  | girth ;
0 | 0
4 | 2100.39 |  | 05/021.C | strutting 11.00- 12.50m high (EW) | M | 8 | 230.12 | 1840.96
0 | 0
4 | 2100.42 |  |  | D for formwork to projecting surfaces
0 | 0
4 | 2100.43 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2100.44 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2100.45 |  |  | projections and the like ; 3600-3700
0 | 0
4 | 2100.4501 |  |  | girth ;
0 | 0
4 | 2100.46 |  | 05/021.D | strutting 5.00 - 6.50m high (EW) | M | 12 | 230.12 | 2761.44
0 | 0
4 | 2100.49 |  |  | E for formwork to projecting surfaces
0 | 0
4 | 2100.5 |  |  | of copings, cills, strings, cornices,
0 | 0
4 | 2100.51 |  |  | eaves overhangs, fins, sunbreakers,
0 | 0
4 | 2100.52 |  |  | projections and the like ; 4500-4600
0 | 0
4 | 2100.5201 |  |  | girth;
0 | 0
4 | 2100.53 |  | 05/021.E | strutting 3.50 - 5.00m high (EW) | M | 29 | 230.12 | 6673.48
0 | 0
4 | 2100.7 |  |  | Carried to Collection
0 | 0
4 | 2100.71 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2100.72 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2100.73 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2100.74 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 2100.7401 |  |  | TUEN MUN - 5.1/21
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 14037.32
0 | 0
0 | 0
4 | 2200.11 |  |  | Item
0 | 0
4 | 2200.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 2200.1103 |  |  | Unit Rate______________ HK$
0 | 0
4 | 2200.14 |  |  | FORMWORK (Cont'd)
0 | 0
4 | 2200.17 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 2200.19 |  |  | Sloping surfaces
0 | 0
4 | 2200.22 |  | 05/022.A | A soffits of suspended slabs (SCUF) | M2 | 49 | 230.12 | 11275.88
0 | 0
4 | 2200.24 |  |  | B sides and soffits of beams ;
0 | 0
4 | 2200.25 |  | 05/022.B | strutting 5.00 - 6.50m high (SCFF) | M2 | 163 | 230.12 | 37509.56
0 | 0
4 | 2200.28 |  | 05/022.C | C soffits of stairs (SCSL) | M2 | 782 | 230.12 | 179953.84
0 | 0
4 | 2200.31 |  |  | D SOFFITS of stairs ; strutting
0 | 0
4 | 2200.32 |  | 05/022.D | 3.50 - 5.00m high (SCSL) | M2 | 501 | 230.12 | 115290.12
0 | 0
4 | 2200.35 |  |  | E soffits of stairs ; strutting
0 | 0
4 | 2200.36 |  | 05/022.E | 5.00 - 6.50m high (SCSL) | M2 | 43 | 230.12 | 9895.16
0 | 0
4 | 2200.38 |  |  | F soffits of stairs ; strutting
0 | 0
4 | 2200.39 |  | 05/022.F | 6.50 - 8.00m high (SCSL) | M2 | 13 | 230.12 | 2991.56
0 | 0
4 | 2200.42 |  |  | Vertical surfaces ; not exceeding 100
0 | 0
4 | 2200.43 |  |  | wide
0 | 0
4 | 2200.45 |  | 05/022.G | G sides of beams (SCFF) | M | 189 | 230.12 | 43492.68
0 | 0
4 | 2200.8 |  |  | Carried to Collection
0 | 0
4 | 2200.81 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2200.82 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2200.83 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2200.84 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 2200.8401 |  |  | TUEN MUN - 5.1/22
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 400408.8
0 | 0
0 | 0
4 | 2300.11 |  |  | Item
0 | 0
4 | 2300.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 2300.1103 |  |  | Unit______ Rate________ HK $
0 | 0
4 | 2300.14 |  |  | FORMWORK (Cont d)
0 | 0
4 | 2300.16 |  |  | Sawn formwork (Cont'd)
0 | 0
4 | 2300.19 |  |  | Vertical surfaces ; 100 - 200 wide
0 | 0
4 | 2300.22 |  |  | A plinths and machine bases ;
0 | 0
4 | 2300.23 |  | 05/023.A | PROVISIONAL (BB) | M | 2290 | 230.12 | 526974.8
0 | 0
4 | 2300.26 |  | 05/023.B | B curbs; PROVISIONAL (BB) | M | 2259 | 230.12 | 519841.08
0 | 0
4 | 2300.29 |  | 05/023.C | C edges and breaks in walls (IP) | M | 1432 | 230.12 | 329531.84
0 | 0
4 | 2300.31 |  | 05/023.D | D edges and breaks in walls (EW) | M | 4856 | 230.12 | 1117462.72
0 | 0
4 | 2300.34 |  | 05/023.E | E edges and breaks in walls (SCSW) | M | 871 | 230.12 | 200434.52
0 | 0
4 | 2300.37 |  |  | F edges and breaks in suspended
0 | 0
4 | 2300.38 |  | 05/023.F | slabs (SCUF) | M | 6162 | 230.12 | 1417999.44
0 | 0
4 | 2300.41 |  | 05/023.G | G risers (SCSL) | M | 343 | 230.12 | 78931.16
0 | 0
4 | 2300.44 |  |  | Vertical surfaces ; 200 - 300 wide
0 | 0
4 | 2300.46 |  | 05/023.H | H curbs; PROVISIONAL (IP) | M | 336 | 230.12 | 77320.32
0 | 0
4 | 2300.49 |  | 05/023.J | J edges and breaks in walls (SCSW) | M | 801 | 230.12 | 184326.12
0 | 0
4 | 2300.51 |  | 05/023.K | K edges and breaks in slabs (SCUF) | M | 23 | 230.12 | 5292.76
0 | 0
4 | 2300.54 |  | 05/023.L | L risers (SCSL) | M | 1865 | 230.12 | 429173.8
0 | 0
4 | 2300.57 |  | 05/023.M | M sides of floating slab (BB) | M | 174 | 230.12 | 40040.88
0 | 0
4 | 2300.79 |  |  | Carried to Collection
0 | 0
4 | 2300.8 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2300.81 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2300.82 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2300.83 |  |  | COMPLEX AT EX-SRJ LAM HOSPITAL SITE IN
0 | 0
4 | 2300.8301 |  |  | TUEN MUN - 5.1/23
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 4927329.44
0 | 0
0 | 0
4 | 2400.11 |  |  | Item
0 | 0
4 | 2400.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 2400.1103 |  |  | Unit Rate______________ HK$
0 | 0
4 | 2400.14 |  |  | FORMWORK (Cont d)
0 | 0
4 | 2400.16 |  |  | Sawn formwork left-in
0 | 0
4 | 2400.19 |  |  | Vertical surfaces
0 | 0
4 | 2400.22 |  | 05/024.A | A tank walls (SCSW) | M2 | 2286 | 230.12 | 526054.32
0 | 0
4 | 2400.24 |  |  | Flat surfaces
0 | 0
4 | 2400.27 |  | 05/024.B | B soffits of suspended tank slabs (SCUF) | M2 | 632 | 230.12 | 145435.84
0 | 0
4 | 2400.3 |  |  | MOVEMENT JOINTS ; ALL PROVISIONAL
0 | 0
4 | 2400.32 |  |  | Joints in concrete
0 | 0
4 | 2400.35 |  |  | Forming expansion joint; formwork ;
0 | 0
4 | 2400.36 |  |  | temporary fillets ; silicone sealant
0 | 0
4 | 2400.37 |  |  | with backer rod ; field applied deep
0 | 0
4 | 2400.38 |  |  | injected sealant band and comer bead ;
0 | 0
4 | 2400.3801 |  |  | stainless steel cover plate
0 | 0
4 | 2400.41 |  |  | C between two suspended slabs ;
0 | 0
4 | 2400.42 |  | 05/024.C | 140 wide (SCSU) | M | 10 | 230.12 | 2301.2
0 | 0
4 | 2400.44 |  |  | Pointing to expansion joints with
0 | 0
4 | 2400.45 |  |  | proprietary watertight factory applied
0 | 0
4 | 2400.46 |  |  | traffic-grade silicone bellows with
0 | 0
4 | 2400.47 |  |  | acrylic-impregnated precompressed foam
0 | 0
4 | 2400.5 |  | 05/024.D | D 25x40 (SCSU) | M | 10 | 230.12 | 2301.2
0 | 0
4 | 2400.78 |  |  | Carried to Collection
0 | 0
4 | 2400.79 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2400.8 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2400.81 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2400.82 |  |  | COMPLEX AT EX-SRI LAM HOSPITAL SITE IN
0 | 0
4 | 2400.8201 |  |  | TUEN MUN - 5.1 /24
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 676092.56
0 | 0
0 | 0
4 | 2500.11 |  |  | Item
0 | 0
4 | 2500.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 2500.1103 |  |  | Unit Rate______________ HK $
0 | 0
4 | 2500.14 |  |  | SUNDRIES
0 | 0
4 | 2500.16 |  |  | Sundry items
0 | 0
4 | 2500.19 |  |  | Forming channels in concrete slabs ;
0 | 0
4 | 2500.2 |  |  | half round ; formwork ; PROVISIONAL
0 | 0
4 | 2500.22 |  | 05/025.A | A 150 wide x 250 deep (SCSU) | M | 290 | 230.12 | 66734.8
0 | 0
4 | 2500.25 |  | 05/025.B | B 300 wide x 250 deep (SCSU) | M | 1509 | 230.12 | 347251.08
0 | 0
4 | 2500.28 |  |  | C 300 wide x 250 deep;
0 | 0
4 | 2500.29 |  | 05/025.C | curved (SCSU) | M | 28 | 230.12 | 6443.36
0 | 0
4 | 2500.32 |  |  | Acoustic floating concrete slab;
0 | 0
4 | 2500.33 |  |  | consist of 4 layers of 0.05 thick
0 | 0
4 | 2500.34 |  |  | polyethylene sheet; 18mm thick
0 | 0
4 | 2500.35 |  |  | exterior grade plywood; 2 layers of
0 | 0
4 | 2500.36 |  |  | 50 thick 16kg/cu.m. fibreglass; 100
0 | 0
4 | 2500.37 |  |  | x 100 x 50 kinetic vibration
0 | 0
4 | 2500.38 |  |  | isolation pad (proprietary
0 | 0
4 | 2500.39 |  |  | neoprene); on 50 thick waterproof
0 | 0
4 | 2500.4 |  |  | cement sand screed;
0 | 0
4 | 2500.41 |  |  | all in accordance with the
0 | 0
4 | 2500.42 |  |  | manufacturer's instructions and
0 | 0
4 | 2500.43 |  |  | all as described in the
0 | 0
4 | 2500.44 |  |  | Specifications ; as drawings nr.
0 | 0
4 | 2500.45 |  |  | AB/15105/PE631
0 | 0
4 | 2500.48 |  | 05/025.D | D fixing to concrete slab (IFFF) | M2 | 332 | 230.12 | 76399.84
0 | 0
4 | 2500.76 |  |  | Carried to Collection
0 | 0
4 | 2500.77 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2500.78 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2500.79 |  |  | --------------------- J INTEGRATED
0 | 0
4 | 2500.8 |  |  | REHABILITATION SERVICES COMPLEX AT
0 | 0
4 | 2500.8002 |  |  | EX-SIU LAM HOSPITAL SITE IN TUEN MUN -
0 | 0
4 | 2500.8003 |  |  | 5.1/25
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 496829.08
0 | 0
0 | 0
4 | 2600.11 |  |  | Item
0 | 0
4 | 2600.1102 |  |  | Description___________________ Quantity
0 | 0
4 | 2600.1103 |  |  | Unit Rate______________ HK$
0 | 0
4 | 2600.14 |  |  | SUNDRIES (Cont'd)
0 | 0
4 | 2600.16 |  |  | Sundry items (Cont'd)
0 | 0
4 | 2600.19 |  |  | 18 thick isolator board around floating
0 | 0
4 | 2600.2 |  |  | floor with 20 thick sealant joint on
0 | 0
4 | 2600.21 |  |  | top ; all as described in the
0 | 0
4 | 2600.22 |  |  | Specifications ; as drawings nr.
0 | 0
4 | 2600.2201 |  |  | AB/15105/PE631
0 | 0
4 | 2600.25 |  |  | A fixing to polyethylene sheet;
0 | 0
4 | 2600.26 |  | 05/026.A | 320 girth (IFWF) | M | 178 | 230.12 | 40961.36
0 | 0
4 | 2600.29 |  |  | 4 layers 0.05 thick polyethylene sheet;
0 | 0
4 | 2600.3 |  |  | as drawings nr. AB/15105/PE631
0 | 0
4 | 2600.33 |  | 05/026.B | B horizontal (IFWF) | M2 | 332 | 230.12 | 76399.84
0 | 0
4 | 2600.35 |  | 05/026.C | C vertical; 350 girth (IFWF) | M | 178 | 230.12 | 40961.36
0 | 0
4 | 2600.38 |  |  | Testing
0 | 0
4 | 2600.41 |  |  | Watertightness test for water tanks
0 | 0
4 | 2600.43 |  | 05/026.D | D generally (SCSU) - | I | 1 | 230.12 | 230.12
0 | 0
4 | 2600.46 |  |  | Core tests to plain or reinforced
0 | 0
4 | 2600.47 |  |  | concrete ; thicknesses and locations as
0 | 0
4 | 2600.48 |  |  | directed by the Supervising Officer or
0 | 0
4 | 2600.49 |  |  | his representative ; making good core
0 | 0
4 | 2600.5 |  |  | hole with similar concrete and all
0 | 0
4 | 2600.5001 |  |  | works disturbed
0 | 0
4 | 2600.53 |  |  | E 100 diameter x 100 deep ;
0 | 0
4 | 2600.54 |  | 05/026.E | PROVISIONAL (FNGF) | NR | 120 | 230.12 | 27614.4
0 | 0
4 | 2600.76 |  |  | Carried to Collection
0 | 0
4 | 2600.77 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2600.78 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2600.79 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2600.8 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 2600.8001 |  |  | TUEN MUN - 5.1/26
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 186167.08
0 | 0
0 | 0
4 | 2700.11 |  |  | Item
0 | 0
4 | 2700.1102 |  |  | Description
0 | 0
4 | 2700.1103 |  |  | _____ HKS
0 | 0
4 | 2700.13 |  |  | BILL NR. 5.1
0 | 0
4 | 2700.14 |  |  | SUPERSTRUCTURE
0 | 0
4 | 2700.15 |  |  | CONCRETE WORKS
0 | 0
4 | 2700.18 |  |  | COLLECTION
0 | 0
4 | 2700.22 |  |  | Brought forward from page 511
0 | 0
4 | 2700.24 |  |  | If II II II 5 12
0 | 0
4 | 2700.26 |  |  | ii it ii 5 13
0 | 0
4 | 2700.29 |  |  | n i ii H 514
0 | 0
4 | 2700.32 |  |  | 515 .
0 | 0
4 | 2700.34 |  |  | 516 .
0 | 0
4 | 2700.36 |  |  | j7
0 | 0
4 | 2700.37 |  |  | 5 .
0 | 0
4 | 2700.4 |  |  | 518 .
0 | 0
4 | 2700.42 |  |  | i 519
0 | 0
4 | 2700.45 |  |  | 5110 .
0 | 0
4 | 2700.47 |  |  | 5111 .
0 | 0
4 | 2700.5 |  |  | i 5112
0 | 0
4 | 2700.53 |  |  | 5113 .
0 | 0
4 | 2700.55 |  |  | 5114 .
0 | 0
4 | 2700.58 |  |  | 5115 .
0 | 0
4 | 2700.75 |  |  | Carried Forward
0 | 0
4 | 2700.76 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2700.77 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2700.78 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2700.79 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL srfE IN
0 | 0
4 | 2700.7901 |  |  | TUEN MUN -5.1/27
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 0
0 | 0
0 | 0
4 | 2800.11 |  |  | Item
0 | 0
4 | 2800.1102 |  |  | Description
0 | 0
4 | 2800.1103 |  |  | ______________ HK$
0 | 0
4 | 2800.13 |  |  | BILL NR. 5.1
0 | 0
4 | 2800.14 |  |  | SUPERSTRUCTURE
0 | 0
4 | 2800.15 |  |  | CONCRETE WORKS
0 | 0
4 | 2800.18 |  |  | COLLECTION (Cont'd)
0 | 0
4 | 2800.22 |  |  | Brought Forward
0 | 0
4 | 2800.25 |  |  | Brought forward from page 5116
0 | 0
4 | 2800.27 |  |  | 5117 .
0 | 0
4 | 2800.3 |  |  | 5118 .
0 | 0
4 | 2800.33 |  |  | 5119 .
0 | 0
4 | 2800.35 |  |  | 5120 .
0 | 0
4 | 2800.38 |  |  | 5121 .
0 | 0
4 | 2800.4 |  |  | 5122 .
0 | 0
4 | 2800.43 |  |  | 5123 .
0 | 0
4 | 2800.45 |  |  | 5124 .
0 | 0
4 | 2800.48 |  |  | 5125 .
0 | 0
4 | 2800.51 |  |  | 5126 .
0 | 0
4 | 2800.77 |  |  | TOTAL - BILL NR. 5.1
0 | 0
4 | 2800.78 |  |  | Carried to Summary of Bill Nr. 5
0 | 0
4 | 2800.79 |  |  | CONTRACT NO. SSG005
0 | 0
4 | 2800.8 |  |  | CONSTRUCTION OF AN
0 | 0
4 | 2800.81 |  |  | INTEGRATED REHABILITATION SERVICES
0 | 0
4 | 2800.82 |  |  | COMPLEX AT EX-SIU LAM HOSPITAL SITE IN
0 | 0
4 | 2800.8201 |  |  | TUEN MUN - 5.1/28
0 | 0
0 | 0 |  |  | Page Total | [7 empty] | 0
0 | 0
0 | 0
0 | 0 |  | E01 | Section Total | [8 empty] | 95462708.88
0 | 0
0 | 0
0 | 0 |  | E | Bill Total | [9 empty] | 95462708.88
0 | 0
0 | 0
0 | 0 |  | Job | Job Total | [10 empty] | 95462708.88
0 | 0